## ABB
List of ABB Spares_GTPP-2022_Rev-1 ABB-ის სათადარიგო ნაწილების სია_GTPP-2022_Rev-1
No | Spare Part Description | Manufacturer/ Part Numbers/ Specifications | განზ | რაოდ | ერთ. ფასი დღგ-ს ჩათვლით | ჯამური ღირებულება დღგ-ს ჩათვლით | მოწოდების ვადა
1 | Installation contactor for distribution board | Installation contactor for distribution board Type: ESB20-02N-06 Manufacturer:ABB Product Id: 1SBE121111R0602 | No's | 4
2 | E252-230 Latching relay | E252-230 Latching relay 2-NO 230VAC Type: E252-230 Manufacturer:ABB Part No: 2CSM112000R0201 | No's | 4
3 | Frequency Converter | Frequency Converter Manufacturer:ABB ABB Type Designation:ACH550-UH-059A-4 Product ID:3AUA0000004064 | No's | 2
4 | Fan Kits UL Type 1 | Fan Kits UL Type 1 ACH550-UH-R4 Fan Kit Manufacturer:ABB Part No: 3AUA0000139144 | No's | 4
3 | Plug-in module for analog position feedback | Plug-in module f.anal.feedback TZID-C Manufacturer: ABB Product ID: 3KXS360018L0001 | No's | 5
4 | Ceramic filter element | Ceramic Filter Element Manufacturer: ABB Model: FE2 Product ID: 730682 | No's | 2